Supporting Information

An easy and simple kilowatt-MPT-MS-based metal elements analysis method for rapid environmental water monitoring: an example from Poyang Lake of China

Tao Jiang1,4, Feng Jiang3, Huaxing Liu2, Limin Yuan2,Ting Mo4, Zhengxu Huang1,4, Xue Li1, Lei Li1,4, Zhiqiang Zhu2*, Zhen Zhou1,5

1 Institute of Mass Spectrometry and Atmospheric Environment, Jinan University, Guangzhou 510632, Guangdong,China;

2 School of Chemistry and Environmental Science, Shangrao Normal University, Shangrao 334001, Jiangxi, China;

3 Key Laboratory of Environment and Resource Utilization of Poyang Lake, Ministry of Education, School of Environment and Chemical Engineering, Nanchang University, Nanchang 330031, China;

4 Guangzhou Hexin Instrument Co., Ltd, Guangzhou 510530, China；

5 Kunshan Hexin Instrument Co., Ltd, Kunshan 215300, China.

*Corresponding to: Zhiqiang Zhu;

Phone number: (+86)13667082648;

Email: zhiqiangz@iccas.ac.cn;

Figure and table of content

Fig. S1. The calibration curve of iron (m/z 258), cobalt (m/z 199), and nickel (m/z 198) adduct ion.

Table S1 Comparison of isotopic abundance in nature and experimental value for iron.

Table S2 Comparison of isotopic abundance in nature and experimental value for nickel.

Table S3 Analytical Performance of the Fragment ion of iron adduct ion detected by MPT-MS method.

Table S4 Analytical Performance of the Fragment ion of cobalt adduct ion detected by MPT-MS method.

Table S5 Analytical Performance of the Fragment ion of nickel adduct ion detected by MPT-MS method.

Table S6 Fragment ion of iron adduct ion detected by MPT-MS analysis of 14 kinds of water samples collected from Poyang Lake.

Table S7 Fragment ion of cobalt adduct ion detected by MPT-MS analysis of 14 kinds of water samples collected from Poyang Lake.

Table S8 Fragment ion of nickel adduct ion detected by MPT-MS analysis of 14 kinds of water samples collected from Poyang Lake.

Table S9 Recoveries obtained for MPT-MS analysis of iron spiked in water samples.

Table S10 Recoveries obtained for MPT-MS analysis of cobalt spiked in water samples.

Table S11 Recoveries obtained for MPT-MS analysis of nickel spiked in water samples.

Table S12 Fragment ion of iron, cobalt, and nickel adduct ion detected by MPT-MS in water samples collected from Poyang Lake.

Fig. S1. The calibration curve of iron (m/z 258), cobalt (m/z 199), and nickel (m/z 198) adduct ion

Table S1 Comparison of isotopic abundance in nature and experimental value for iron

| m/z | Assignment | Intensity | Experimental value | Isotopic Abundance in nature |
| --- | --- | --- | --- | --- |
| 302 | [54Fe(NO3)4]- | 321 | 5.23% | 5.80% |
| 304 | [56Fe(NO3)4]- | 5630 | 91.81% | 91.72% |
| 305 | [57Fe(NO3)4]- | 136 | 2.22% | 2.20% |
| 306 | [58Fe(NO3)4]- | 45.4 | 0.74% | 0.28% |

Table S2 Comparison of isotopic abundance in nature and experimental value for nickel

| m/z | Assignment | Intensity | Experimental value | Isotopic Abundance in nature |
| --- | --- | --- | --- | --- |
| 244 | [58Ni(NO3)3]- | 33820 | 68.06% | 68.27% |
| 246 | [60Ni(NO3)3]- | 13000 | 26.16% | 26.10% |
| 247 | [61Ni(NO3)3]- | 919 | 1.85% | 1.13% |
| 248 | [62Ni(NO3)3]- | 1560 | 3.14% | 3.59% |
| 250 | [63Ni(NO3)3]- | 395 | 0.79% | 0.91% |

Table S3 Analytical Performance of the Fragment ion of iron adduct ion detected by MPT-MS method

| Concentration (μg∙L-1) | Signal Intensity |  |  |  |  |  |  |  |  |  |  | Mean values (n=11) | SD | RSD | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Blank | 78.9 | 84.2 | 84.5 | 85.4 | 87.2 | 84 | 83.2 | 84.4 | 79.8 | 83.9 | 87.8 | 83.94 | 2.67 | 3.18% | 0.81 |
| 0.5 | 135 | 121 | 128 | 134 | 126 | 135 | 131 | 128 | 124 | 120 | 130 | 128.36 | 5.28 | 4.11% | 1.59 |
| 1 | 178 | 179 | 176 | 171 | 166 | 178 | 182 | 172 | 169 | 182 | 166 | 174.45 | 5.94 | 3.40% | 1.79 |
| 2 | 333 | 327 | 330 | 322 | 317 | 330 | 322 | 335 | 320 | 337 | 317 | 326.36 | 7.16 | 2.19% | 2.16 |
| 5 | 502 | 495 | 538 | 535 | 528 | 502 | 515 | 528 | 533 | 508 | 518 | 518.36 | 15.04 | 2.90% | 4.54 |
| 10 | 1390 | 1380 | 1390 | 1386 | 1368 | 1385 | 1377 | 1379 | 1382 | 1393 | 1389 | 1383.55 | 7.29 | 0.53% | 2.20 |
| 20 | 1950 | 1930 | 1960 | 1973 | 1930 | 1950 | 1950 | 1940 | 1972 | 1965 | 1944 | 1951.27 | 15.02 | 0.77% | 4.53 |

*uncertainty: ；

Mean values: ；

Table S4 Analytical Performance of the Fragment ion of cobalt adduct ion detected by MPT-MS method

| Concentration (μg∙L-1) | Signal Intensity |  |  |  |  |  |  |  |  |  |  | Mean values (n=11) | SD | RSD | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Blank | 0.62 | 0.28 | 0.4 | 0.11 | 0.56 | 0.57 | 0.28 | 0.12 | 0.45 | 0.14 | 0.29 | 0.35 | 0.19 | 53.55% | 0.06 |
| 0.1 | 34.8 | 31.9 | 30 | 32.4 | 31.3 | 34.8 | 34.9 | 33.3 | 32.4 | 31.5 | 34 | 32.85 | 1.64 | 5.00% | 0.50 |
| 0.5 | 74.6 | 72.4 | 73.4 | 84.2 | 70.7 | 74.6 | 72.4 | 80.4 | 84.2 | 75.7 | 77.6 | 76.38 | 4.69 | 6.13% | 1.41 |
| 1 | 150 | 140 | 151 | 160 | 156 | 153 | 140 | 151 | 148 | 156 | 151 | 150.55 | 6.20 | 4.12% | 1.87 |
| 2 | 329 | 338 | 347 | 323 | 331 | 329 | 308 | 344 | 331 | 331 | 347 | 332.55 | 11.42 | 3.43% | 3.44 |
| 5 | 714 | 718 | 722 | 758 | 762 | 736 | 718 | 718 | 718 | 758 | 743 | 733.18 | 18.93 | 2.58% | 5.71 |
| 10 | 1520 | 1512 | 1520 | 1509 | 1496 | 1520 | 1527 | 1510 | 1497 | 1489 | 1513 | 1510.27 | 11.87 | 0.79% | 3.58 |

Table S5 Analytical Performance of the Fragment ion of nickel adduct ion detected by MPT-MS method

| Concentration (μg∙L-1) | Signal Intensity |  |  |  |  |  |  |  |  |  |  | Mean values (n=11) | SD | RSD | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Blank | 19.1 | 21.7 | 21.9 | 25.2 | 18.3 | 19.5 | 21.1 | 20.9 | 15.2 | 14.2 | 16.1 | 19.38 | 3.27 | 16.89% | 0.99 |
| 0.1 | 46.5 | 44.9 | 43.7 | 35.3 | 35.4 | 48.5 | 44.9 | 42.8 | 43.7 | 44.1 | 50.9 | 43.70 | 4.75 | 10.88% | 1.43 |
| 0.5 | 70.4 | 77.9 | 70.3 | 74.5 | 68.5 | 70.4 | 67.9 | 67.3 | 72.5 | 78.5 | 75.5 | 72.15 | 3.93 | 5.45% | 1.19 |
| 1 | 128 | 136 | 140 | 147 | 135 | 128 | 136 | 140 | 137 | 135 | 135 | 136.09 | 5.34 | 3.92% | 1.61 |
| 2 | 165 | 170 | 158 | 157 | 156 | 165 | 154 | 158 | 140 | 155 | 156 | 157.64 | 7.74 | 4.91% | 2.33 |
| 5 | 297 | 273 | 289 | 266 | 254 | 297 | 273 | 289 | 266 | 254 | 254 | 273.82 | 16.85 | 6.15% | 5.08 |
| 10 | 540 | 546 | 540 | 559 | 511 | 542 | 560 | 530 | 569 | 544 | 511 | 541.09 | 18.51 | 3.42% | 5.58 |
| 20 | 1060 | 1061 | 1066 | 1030 | 1077 | 1074 | 1074 | 1044 | 1055 | 1070 | 1074 | 1062.27 | 14.62 | 1.38% | 4.41 |

Table S6 Fragment ion of iron adduct ion detected by MPT-MS analysis of 14 kinds of water samples collected from Poyang Lake.

| Samples | Signal Intensity |  |  | Mean values (n=3) | SD | RSD | Concentration (μg∙L-1) | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 339 | 337 | 331 | 335.82 | 4.01 | 1.19% | 2.54 | 2.31 |
| 2 | 385 | 377 | 374 | 378.67 | 5.90 | 1.56% | 2.97 | 3.41 |
| 3 | 184 | 184 | 186 | 184.85 | 1.15 | 0.62% | 1.05 | 0.66 |
| 4 | 193 | 198 | 189 | 193.46 | 4.56 | 2.36% | 1.13 | 2.64 |
| 5 | 181 | 183 | 188 | 184.03 | 3.59 | 1.95% | 1.04 | 2.07 |
| 6 | 327 | 325 | 320 | 323.94 | 3.73 | 1.15% | 2.43 | 2.16 |
| 7 | 161 | 157 | 160 | 158.99 | 2.25 | 1.41% | 0.79 | 1.30 |
| 8 | 460 | 468 | 460 | 462.53 | 4.36 | 0.94% | 3.8 | 2.52 |
| 9 | 1076 | 1079 | 1074 | 1076.57 | 2.68 | 0.25% | 9.88 | 1.55 |
| 10 | 122 | 114 | 126 | 120.63 | 6.17 | 5.12% | 0.41 | 3.56 |
| 11 | 137 | 139 | 125 | 133.55 | 7.58 | 5.68% | 0.54 | 4.38 |
| 12 | 251 | 245 | 245 | 246.84 | 3.22 | 1.30% | 1.66 | 1.86 |
| 13 | 238 | 247 | 234 | 239.48 | 6.68 | 2.79% | 1.59 | 3.86 |
| 14 | 496 | 487 | 490 | 490.93 | 4.64 | 0.95% | 4.08 | 2.68 |

*ND: not detect.

Table S7 Fragment ion of cobalt adduct ion detected by MPT-MS analysis of 14 kinds of water samples collected from Poyang Lake

| Samples | Signal Intensity |  |  | Mean values (n=3) | SD | RSD | concentration (μg∙L-1) | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 27 | 25 | 34 | 28.81 | 4.96 | 17.23% | 0.14 | 2.87 |
| 2 | 52 | 52 | 64 | 55.96 | 7.07 | 12.63% | 0.32 | 4.08 |
| 3 | 7 | 11 | 13 | 10.63 | 3.06 | 28.80% | ND | 1.77 |
| 4 | 26 | 34 | 30 | 29.86 | 3.91 | 13.09% | 0.15 | 2.26 |
| 5 | 14 | 20 | 14 | 16.11 | 3.14 | 19.51% | ND | 1.81 |
| 6 | 5 | 6 | 8 | 6.26 | 1.69 | 27.07% | ND | 0.98 |
| 7 | 5 | 5 | 5 | 5.23 | 0.23 | 4.40% | ND | 0.13 |
| 8 | 212 | 203 | 214 | 209.39 | 5.89 | 2.81% | 1.36 | 3.40 |
| 9 | 13 | 15 | 16 | 14.90 | 1.38 | 9.25% | ND | 0.80 |
| 10 | 190 | 184 | 191 | 188.74 | 3.76 | 1.99% | 1.22 | 2.17 |
| 11 | 8 | 8 | 7 | 7.54 | 0.82 | 10.91% | ND | 0.47 |
| 12 | 14 | 13 | 14 | 13.45 | 0.27 | 1.97% | ND | 0.15 |
| 13 | 134 | 149 | 135 | 139.42 | 8.74 | 6.27% | 0.89 | 5.05 |
| 14 | 15 | 14 | 18 | 15.46 | 2.36 | 15.26% | ND | 1.36 |

*ND: not detect.

Table S8 Fragment ion of nickel adduct ion detected by MPT-MS analysis of 14 kinds of water samples collected from Poyang Lake.

| Samples | Signal Intensity |  |  | Mean values (n=3) | SD | RSD | Concentration (μg∙L-1) | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 95 | 113 | 110 | 105.76 | 9.88 | 9.34% | 1.21 | 5.70 |
| 2 | 34 | 25 | 22 | 27.00 | 6.24 | 23.13% | ND | 3.61 |
| 3 | 125 | 118 | 113 | 118.68 | 6.06 | 5.11% | 1.47 | 3.50 |
| 4 | 5 | 3 | 7 | 4.91 | 1.59 | 32.36% | ND | 0.92 |
| 5 | 95 | 103 | 113 | 103.65 | 8.69 | 8.39% | 1.17 | 5.02 |
| 6 | 43 | 31 | 44 | 39.41 | 7.20 | 18.27% | ND | 4.16 |
| 7 | 16 | 20 | 15 | 17.05 | 2.39 | 14.00% | ND | 1.38 |
| 8 | 120 | 128 | 117 | 121.50 | 5.69 | 4.69% | 1.52 | 3.29 |
| 9 | 19 | 17 | 18 | 18.20 | 1.00 | 5.49% | ND | 0.58 |
| 10 | 18 | 22 | 20 | 19.83 | 1.56 | 7.88% | ND | 0.90 |
| 11 | 21 | 21 | 16 | 19.40 | 2.63 | 13.55% | ND | 1.52 |
| 12 | 16 | 16 | 19 | 16.87 | 1.50 | 8.92% | ND | 0.87 |
| 13 | 24 | 15 | 15 | 17.83 | 5.01 | 28.07% | ND | 2.89 |
| 14 | 13 | 11 | 14 | 12.53 | 1.86 | 14.81% | ND | 1.07 |

*ND: not detect.

Table S9 Recoveries obtained for MPT-MS analysis of iron spiked in water samples

| Samples | Signal Intensity |  |  | Mean values (n=3) | Concentration (μg∙L-1) | SD | RSD | spiked concentrations (μg∙L-1) | recovery (%, n = 3) | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 866 | 853 | 858 | 859.00 | 7.72 | 6.56 | 0.76% | 5 | 103.70% | 3.79 |
| 2 | 789 | 791 | 796 | 792.00 | 7.06 | 3.61 | 0.46% | 5 | 81.83% | 2.08 |
| 3 | 640 | 632 | 638 | 636.67 | 5.52 | 4.16 | 0.65% | 5 | 89.47% | 2.40 |
| 4 | 688 | 684 | 686 | 686.00 | 6.01 | 2.00 | 0.29% | 5 | 97.64% | 1.15 |
| 5 | 612 | 594 | 589 | 598.33 | 5.14 | 12.10 | 2.02% | 5 | 82.08% | 6.98 |
| 6 | 846 | 833 | 831 | 836.67 | 7.50 | 8.14 | 0.97% | 5 | 101.47% | 4.70 |
| 7 | 630 | 616 | 642 | 629.33 | 5.45 | 13.01 | 2.07% | 5 | 93.22% | 7.51 |
| 8 | 935 | 939 | 936 | 936.67 | 8.49 | 2.08 | 0.22% | 5 | 93.87% | 1.20 |
| 9 | 1647 | 1652 | 1667 | 1655.33 | 15.61 | 10.41 | 0.63% | 5 | 114.58% | 6.01 |
| 10 | 667 | 675 | 663 | 668.33 | 5.84 | 6.11 | 0.91% | 5 | 108.54% | 3.53 |
| 11 | 627 | 624 | 636 | 629.00 | 5.45 | 6.24 | 0.99% | 5 | 98.15% | 3.61 |
| 12 | 681 | 667 | 678 | 675.33 | 5.91 | 7.37 | 1.09% | 5 | 84.93% | 4.26 |
| 13 | 694 | 691 | 684 | 689.67 | 6.05 | 5.13 | 0.74% | 5 | 89.16% | 2.96 |
| 14 | 896 | 879 | 905 | 893.33 | 8.06 | 13.20 | 1.48% | 5 | 79.69% | 7.62 |

Table S10 Recoveries obtained for MPT-MS analysis of cobalt spiked in water sample

| Samples | Signal Intensity |  |  | Mean values (n=3) | Concentration (μg∙L-1) | SD | RSD | spiked concentrations (μg∙L-1) | recovery (%, n = 3) | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 296 | 308 | 288 | 297.33 | 1.95 | 10.07 | 3.39% | 2 | 90.65% | 5.81 |
| 2 | 311 | 319 | 323 | 317.67 | 2.09 | 6.11 | 1.92% | 2 | 88.52% | 3.53 |
| 3 | 303 | 294 | 291 | 296.00 | 1.94 | 6.24 | 2.11% | 2 | 97.20% | 3.61 |
| 4 | 299 | 289 | 285 | 291.00 | 1.91 | 7.21 | 2.48% | 2 | 88.01% | 4.16 |
| 5 | 301 | 292 | 291 | 294.67 | 1.93 | 5.51 | 1.87% | 2 | 96.75% | 3.18 |
| 6 | 326 | 319 | 335 | 326.67 | 2.15 | 8.02 | 2.46% | 2 | 107.56% | 4.63 |
| 7 | 1209 | 1196 | 1207 | 1204.00 | 8.08 | 7.00 | 0.58% | 10 | 80.79% | 4.04 |
| 8 | 1679 | 1692 | 1686 | 1685.67 | 11.33 | 6.51 | 0.39% | 10 | 99.74% | 3.76 |
| 9 | 1223 | 1222 | 1217 | 1220.67 | 8.19 | 3.21 | 0.26% | 10 | 81.92% | 1.86 |
| 10 | 1769 | 1762 | 1776 | 1769.00 | 11.90 | 7.00 | 0.40% | 10 | 106.97% | 4.04 |
| 11 | 1367 | 1374 | 1366 | 1369.00 | 9.19 | 4.36 | 0.32% | 10 | 91.94% | 2.52 |
| 12 | 1618 | 1618 | 1629 | 1621.67 | 10.90 | 6.35 | 0.39% | 10 | 109.01% | 3.67 |
| 13 | 1578 | 1559 | 1579 | 1572.00 | 10.57 | 11.27 | 0.72% | 10 | 105.66% | 6.51 |
| 14 | 1448 | 1468 | 1469 | 1461.67 | 9.82 | 11.85 | 0.81% | 10 | 98.20% | 6.84 |

Table S11 Recoveries obtained for MPT-MS analysis of nickel spiked in water samples

| Samples | Signal Intensity |  |  | Mean values (n=3) | Concentration (μg∙L-1) | SD | RSD | spiked concentrations (μg∙L-1) | recovery (%, n = 3) | S |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 609 | 618 | 617 | 614.67 | 11.29 | 4.93 | 0.80% | 10 | 100.81% | 2.85 |
| 2 | 462 | 471 | 453 | 462.00 | 8.27 | 9.00 | 1.95% | 10 | 82.67% | 5.20 |
| 3 | 551 | 557 | 550 | 552.67 | 10.06 | 3.79 | 0.69% | 10 | 85.97% | 2.19 |
| 4 | 484 | 478 | 497 | 486.33 | 8.75 | 9.71 | 2.00% | 10 | 87.49% | 5.61 |
| 5 | 605 | 587 | 591 | 594.33 | 10.89 | 9.45 | 1.59% | 10 | 97.20% | 5.46 |
| 6 | 521 | 524 | 530 | 525.00 | 9.51 | 4.58 | 0.87% | 10 | 95.15% | 2.65 |
| 7 | 573 | 591 | 576 | 580.00 | 10.60 | 9.64 | 1.66% | 10 | 106.04% | 5.57 |
| 8 | 629 | 635 | 636 | 633.33 | 11.66 | 3.79 | 0.60% | 10 | 101.38% | 2.19 |
| 9 | 530 | 521 | 542 | 531.00 | 9.63 | 10.54 | 1.98% | 10 | 96.34% | 6.08 |
| 10 | 578 | 578 | 569 | 575.00 | 10.50 | 5.20 | 0.90% | 10 | 105.05% | 3.00 |
| 11 | 609 | 628 | 606 | 614.33 | 11.28 | 11.93 | 1.94% | 10 | 112.84% | 6.89 |
| 12 | 540 | 550 | 554 | 548.00 | 9.97 | 7.21 | 1.32% | 10 | 99.70% | 4.16 |
| 13 | 529 | 519 | 523 | 523.67 | 9.49 | 5.03 | 0.96% | 10 | 94.88% | 2.91 |
| 14 | 498 | 502 | 486 | 495.33 | 8.93 | 8.33 | 1.68% | 10 | 89.27% | 4.81 |

Table S12 Fragment ion of iron, cobalt, and nickel adduct ion detected by MPT-MS in water samples collected from Poyang Lake.

| Samples | Fragment ion (m/z 248) of iron |  |  |  |  | Fragment ion (m/z 245) of cobalt |  |  |  |  | Fragment ion (m/z 198) of nickel |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Original (μg∙L-1) | Spiked (μg∙L-1) | Detected (μg∙L-1) | Recovery rate (%, n=3) |  | Original (μg∙L-1) | Spiked (μg∙L-1) | Detected (μg∙L-1) | Recovery rate (%, n=3) |  | Original (μg∙L-1) | Spiked (μg∙L-1) | Detected (μg∙L-1) | Recovery rate (%, n=3) |
| 1 | 2.54 | 5 | 7.72 | 103.70% |  | 0.14 | 2 | 1.95 | 90.65% |  | 1.21 | 10 | 11.29 | 100.81% |
| 2 | 2.97 | 5 | 7.06 | 81.83% |  | 0.32 | 2 | 2.09 | 88.52% |  | ND | 10 | 8.27 | 82.67% |
| 3 | 1.05 | 5 | 5.52 | 89.47% |  | ND | 2 | 1.94 | 97.20% |  | 1.46 | 10 | 10.06 | 85.97% |
| 4 | 1.13 | 5 | 6.01 | 97.64% |  | 0.15 | 2 | 1.91 | 88.01% |  | ND | 10 | 8.75 | 87.49% |
| 5 | 1.04 | 5 | 5.14 | 82.08% |  | ND | 2 | 1.93 | 96.75% |  | 1.17 | 10 | 10.89 | 97.20% |
| 6 | 2.43 | 5 | 7.50 | 101.47% |  | ND | 2 | 2.15 | 107.56% |  | ND | 10 | 9.51 | 95.15% |
| 7 | 0.79 | 5 | 5.45 | 93.22% |  | ND | 10 | 8.08 | 80.79% |  | ND | 10 | 10.60 | 106.04% |
| 8 | 3.8 | 5 | 8.49 | 93.87% |  | 1.36 | 10 | 11.33 | 99.74% |  | 1.52 | 10 | 11.66 | 101.38% |
| 9 | 9.88 | 5 | 15.61 | 114.58% |  | ND | 10 | 8.19 | 81.92% |  | ND | 10 | 9.63 | 96.34% |
| 10 | 0.41 | 5 | 5.84 | 108.54% |  | 1.2 | 10 | 11.90 | 106.97% |  | ND | 10 | 10.50 | 105.05% |
| 11 | 0.54 | 5 | 5.45 | 98.15% |  | ND | 10 | 9.19 | 91.94% |  | ND | 10 | 11.28 | 112.84% |
| 12 | 1.66 | 5 | 5.91 | 84.93% |  | ND | 10 | 10.90 | 109.01% |  | ND | 10 | 9.97 | 99.70% |
| 13 | 1.59 | 5 | 6.05 | 89.16% |  | 0.89 | 10 | 10.57 | 105.66% |  | ND | 10 | 9.49 | 94.88% |
| 14 | 4.08 | 5 | 8.06 | 79.69% |  | ND | 10 | 9.82 | 98.20% |  | ND | 10 | 8.93 | 89.27% |
| *ND: not detect. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

References

Hoffmann, E.D., and Stroobant, V., Mass Spectrometry: Principles and Applications, 3rd Edition,  (2002).