A sensitive and selective fluorescent probe for acetylcholinesterase: synthesis, performance, application and mechanism

Meng Yaoa, Hailiang Nie*a, Wenxue Yaoa, Guowei Zhang*b

a Key Laboratory of Public Health Safety of Hebei Province, College of Public Health, Hebei University Baoding 071002, Hebei (China)

b Hebei Collaborative Innovation Center of Tumor Microecological Metabolism Regulation, College of Traditional Chinese Medicine, Hebei University Baoding 071002, Hebei (China)

- Email: niehailiangts@163.com (H. Nie); Fax: +86–312–5079010; Tel: +86–312–5079010.

xxzgw@126.com (G. Zhang); Fax: +86–312–5079526; Tel: +86–312–5079526.

- Fluorescence spectra of BDFA in PBS with different pH

Fig. S1 Fluorescence spectra of BDFA (2 μM) in the absence and presence of AChE (2 U/mL) in PBS solutions of pH 5-9. λex= 470 nm

- Time-dependent fluorescence spectra of BDFA and BDFA-AChE reaction product

Fig. S2 Changes in the fluorescence spectra of BDFA and BDFA-AChE reaction product with storage time. λex= 470 nm

- Study on the BDFA-AChE reaction mechanism by the HPLC method

Fig. S3 Comparison of HPLC spectra of BDFA, BDFAP and BDFA-AChE reaction solution. The compounds were separated by reverse-phase HPLC with equivalent elution [Column: C18, 150×4.6 mm, 3.5 μm; eluent: 20% H2O / 80% CH3OH; flow rate: 0.7 mL/min; column temperature: 35 ℃；detection wavelength: 460 nm).

- Comparison of the analytical performance of BDFA and reported AChE fluorescent probes

Table S1 Analytical parameters of BDFA and reported AChE fluorescent probes

| Probe structure | Linear range | Detection limit | Response time | Ref. |
| --- | --- | --- | --- | --- |
|  | 1-20 U/mL | 0.36 U/mL | 30 min | J. Am. Chem. Soc., 2019, 141, 2061-2068. |
|  | 0-8 U/mL | 0.1173 U/mL | 3 h | ACS Sens., 2020, 5, 83−92. |
|  | 0-20 U/mL | 0.017 U/mL | 6 h | Chem. Sci., 2020, 11, 11285-11292. |
|  | 0-80 U/mL | 0.127 U/mL | 3 s | Anal. Chem., 2020, 92, 13405-13410. |
|  | 0-20 U/mL | 0.21 U/mL | 15 min | J. Mater. Chem. B, 2021, 9, 2623–2630 |
|  | 0.0045-1 U/mL | 0.0045 U/mL | 20 min | This work |

- Determination of AChE activity in the blood samples

Table S2. Determination of AChE activity in the blood samples by BDFA-based fluorometry and Ellman assaya

| Measured AChE activity | Sample | BDFA (u/L) | RSD (n=3) | Ellman method (u/L) | RSD (n=3) |
| --- | --- | --- | --- | --- | --- |
| Blood AChE | 1 | 4603.4±171.2 | 3.7% | 4752.5± 206.0 | 4.3% |
|  | 2 | 4683.6±125.5 | 2.7% | 4876.0± 103.4 | 2.1% |
|  | 3 | 4456.8±127.3 | 2.9% | 4647.8± 202.7 | 4.4% |

a The blood samples collected from three healthy volunteers in our laboratory were diluted 20 times with PBS solution (pH 7.0, 10 mM) to prevent blood clotting. Subsequently, ethopropazine hydrochloride (200 μM) was added to the blood samples to inhibit BChE activity. Then, AChE activity in blood samples was determined by BDFA-based fluorometry and Ellman assay, respectively.

- Structural characterization of BDFA and BDFA-AChE reaction product (BDFAP)

Fig. S4 1H-NMR spectra of BDFA

Fig. S5 13C-NMR spectra of BDFA

| Sample No. | Formula (M) | Ion Formula | Measured m/z | Calc m/z | Diff (ppm) |
| --- | --- | --- | --- | --- | --- |
| BDFA | C23 H24 N4 O2 S | C23 H24 N4 Na O2 S | 443.1517 | 443.1512 | 1.13 |

Fig.S6 ESI-MS spectra of BDFA

Fig. S7 1H-NMR spectra of BDFAP

| Sample No. | Formula (M) | Ion Formula | Measured m/z | Calc m/z | Diff (ppm) |
| --- | --- | --- | --- | --- | --- |
| BDFAP | C20 H19 N3 O S | C20 H20 N3 O S | 350.1320 | 350.1322 | 0.57 |

Fig. S8 ESI-MS spectra of BDFAP