For Arabian Journal of Chemistry

Comprehensive chemical profiling and quantification of Shexiang Xintongning Tablets by integrating liquid chromatography-mass spectrometry and gas chromatography-mass spectrometry

Meng Ding a,1, Jia-hui Wen a,1, Zi-fan Guo a, Meng-ning Li a, Guangji Wang b, Ping Li a, *, Hua Yang a, *

aState Key Laboratory of Natural Medicines, School of Traditional Chinese Pharmacy, China Pharmaceutical University, No. 24 Tongjia Lane, Nanjing 210009, China

bState Key Laboratory of Natural Medicines, Key Laboratory of Drug Metabolism and Pharmacokinetics, China Pharmaceutical University, No. 24 Tongjia Lane, Nanjing 210009, China

1 These authors contributed equally to this work.

* Corresponding authors. Tel.: +86 25 8327 1220.

E-mail addresses: yanghuacpu@126.com (H. Yang), liping2004@126.com (P. Li)

Table S1. Information on seven batches of commercially available SXXTN.

| No. | Batch | Pharmaceutical factory | Production Dates |
| --- | --- | --- | --- |
| B1 | 190501 | Shandong Hongjitang Pharmaceutical | 2019.05.10 |
| B2 | 190502 | Shandong Hongjitang Pharmaceutical | 2019.05.10 |
| B3 | 190503 | Shandong Hongjitang Pharmaceutical | 2019.05.22 |
| B4 | 190504 | Shandong Hongjitang Pharmaceutical | 2019.05.21 |
| B5 | 190601 | Shandong Hongjitang Pharmaceutical | 2019.06.05 |
| B6 | 190602 | Shandong Hongjitang Pharmaceutical | 2019.06.05 |
| B7 | 190603 | Shandong Hongjitang Pharmaceutical | 2019.06.15 |

Table S2. Information of standard references

| No. | Standard references | Batch. No. | Manufacturers |
| --- | --- | --- | --- |
| 2 | Malic acid | M109342 | Shanghai Aladdin Biochemical Technology Co., Ltd. |
| 3 | Succinic acid | B20534 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 4 | DL-Pipecolinic acid | PS2456 | Chengdu Push Bio-Technology Co. Ltd. |
| 5 | Phenylalanine | PS2477 | Chengdu Push Bio-Technology Co. Ltd. |
| 6 | Tetramethylpyrazine | MUST-190503110 | Chengdu Must Biotechnology Co., Ltd. |
| 7 | Neochlorogenic acid | PS1134 | Chengdu Push Bio-Technology Co. Ltd. |
| 8 | 4-Hydroxybenzoic acid | PS1219 | Chengdu Push Bio-Technology Co. Ltd. |
| 10 | Chlorogenic acid | PS0100 | Chengdu Push Bio-Technology Co. Ltd. |
| 11 | Vanillic acid | PS010559 | Chengdu Push Bio-Technology Co. Ltd. |
| 12 | Caffeic acid | PS010522 | Chengdu Push Bio-Technology Co. Ltd. |
| 14 | Benzoic acid | PS010411 | Chengdu Push Bio-Technology Co. Ltd. |
| 16 | Reticuline | PS010321 | Chengdu Push Bio-Technology Co. Ltd. |
| 21 | Scoulerine | PS210524-01 | Chengdu Push Bio-Technology Co. Ltd. |
| 23 | Isocorydine | PS010325 | Chengdu Push Bio-Technology Co. Ltd. |
| 26 | Ferulic acid | PS012244 | Chengdu Push Bio-Technology Co. Ltd. |
| 28 | Corydalmine | PS210526-01 | Chengdu Push Bio-Technology Co. Ltd. |
| 29 | Tetrahydrocolumbamine | PS210509 | Chengdu Push Bio-Technology Co. Ltd. |
| 31 | Berberrubine | PS210501 | Chengdu Push Bio-Technology Co. Ltd. |
| 33 | Corypalmine | B20541 | Shanghai Shidande Bio-Technology Co. Ltd. |
| 36 | Corydinine | PS210506 | Chengdu Push Bio-Technology Co. Ltd. |
| 37 | Demethyleneberberine | PS020303 | Chengdu Push Bio-Technology Co. Ltd. |
| 43 | Norglaucine | B20566 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 44 | Allocryptopine | PS020453 | Chengdu Push Bio-Technology Co. Ltd. |
| 46 | Glaucine | PS011395 | Chengdu Push Bio-Technology Co. Ltd. |
| 47 | Tetrahydrocoptisine | PS020568 | Chengdu Push Bio-Technology Co. Ltd. |
| 48 | Tetrahydropalmatine | PS020570 | Chengdu Push Bio-Technology Co. Ltd. |
| 50 | Yuanhunine | PS020577 | Chengdu Push Bio-Technology Co. Ltd. |
| 52 | Coptisin | PS13121901 | Chengdu Push Bio-Technology Co. Ltd. |
| 53 | Columbamine | PS012621 | Chengdu Push Bio-Technology Co. Ltd. |
| 55 | Jatrorrhizine | PS010630 | Chengdu Push Bio-Technology Co. Ltd. |
| 57 | Trimethoxycinnamic acid | PS010621 | Chengdu Push Bio-Technology Co. Ltd. |
| 58 | Canadine | PS011145 | Chengdu Push Bio-Technology Co. Ltd. |
| 60 | Corydaline | PS020572 | Chengdu Push Bio-Technology Co. Ltd. |
| 63 | 20-O-glucoginsenoside Rf | PS012331 | Chengdu Push Bio-Technology Co. Ltd. |
| 64 | Worenine | PS210524-02 | Chengdu Push Bio-Technology Co. Ltd. |
| 66 | Cinnamic acid | PS012432 | Chengdu Push Bio-Technology Co. Ltd. |
| 67 | Notoginsenoside R1 | PS012523 | Chengdu Push Bio-Technology Co. Ltd. |
| 68 | Ethylparaben | B20332 | Chengdu Push Bio-Technology Co. Ltd. |
| 69 | Muramine | PS012541 | Chengdu Push Bio-Technology Co. Ltd. |
| 70 | Berberine | B139120 | Chengdu Push Bio-Technology Co. Ltd. |
| 71 | Palmatine | PS012545 | Chengdu Push Bio-Technology Co. Ltd. |
| 73 | Ginsenoside Rg1 | PS010153 | Chengdu Push Bio-Technology Co. Ltd. |
| 74 | Ginsenoside Re | PS011693 | Chengdu Push Bio-Technology Co. Ltd. |
| 75 | Dehydrocorydaline | PS020572 | Chengdu Push Bio-Technology Co. Ltd. |
| 76 | 13-Methylberberine | B28312 | Chengdu Push Bio-Technology Co. Ltd. |
| 80 | Ginsenoside Rf | PS010759 | Chengdu Push Bio-Technology Co. Ltd. |
| 81 | Notoginsenoside R4 | PS011699 | Chengdu Push Bio-Technology Co. Ltd. |
| 82 | Notoginsenoside R2 | PS011843 | Chengdu Push Bio-Technology Co. Ltd. |
| 83 | 20(S)-Ginsenoside Rg2 | PS011811 | Chengdu Push Bio-Technology Co. Ltd. |
| 84 | Ginsenoside Ra2 | PS011761 | Chengdu Push Bio-Technology Co. Ltd. |
| 85 | Ginsenoside Ra3 | PS011620 | Chengdu Push Bio-Technology Co. Ltd. |
| 86 | Ginsenoside Rb1 | B21050 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 88 | Ginsenoside Rc | PS011017 | Chengdu Push Bio-Technology Co. Ltd. |
| 89 | Ginsenoside Ra1 | B22040 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 90 | Ginsenoside Ro | B21068 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 93 | Ginsenoside Rb2 | PS020391 | Chengdu Push Bio-Technology Co. Ltd. |
| 94 | Ginsenoside Rb3 | PS010922 | Chengdu Push Bio-Technology Co. Ltd. |
| 96 | Pseudoginsenoside RT1 | PS020421 | Chengdu Push Bio-Technology Co. Ltd. |
| 99 | Corynoline | PSP2P511 | Chengdu Push Bio-Technology Co. Ltd. |
| 101 | Ginsenoside Rd | B21054 | Chengdu Push Bio-Technology Co. Ltd. |
| 102 | Ginsenoside RS2 | PS020530 | Chengdu Push Bio-Technology Co. Ltd. |
| 106 | Gypenoside VXII | PS020531 | Chengdu Push Bio-Technology Co. Ltd. |
| 107 | 8-Oxycoptisine | PS020569 | Chengdu Push Bio-Technology Co. Ltd. |
| 108 | Senkyunolide A | PS2132 | Chengdu Push Bio-Technology Co. Ltd. |
| 110 | Butylphthalide | PS2342 | Chengdu Push Bio-Technology Co. Ltd. |
| 111 | (E)-Ligustilide | B20492 | Chengdu Push Bio-Technology Co. Ltd. |
| 113 | Sedanolide | PS020520 | Chengdu Push Bio-Technology Co. Ltd. |
| 114 | Zingibroside R1 | PS020502 | Chengdu Push Bio-Technology Co. Ltd. |
| 115 | (Z)-Ligustilide | PS020510 | Chengdu Push Bio-Technology Co. Ltd. |
| 116 | 20(S)-ginsenoside Rg3 | PS020527 | Chengdu Push Bio-Technology Co. Ltd. |
| 118 | 20(R)-ginsenoside Rg3 | B21759 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 120 | Dihydrochelerythrine | PS020581 | Chengdu Push Bio-Technology Co. Ltd. |
| 123 | Dihydrosanguinarine | PS020570 | Chengdu Push Bio-Technology Co. Ltd. |
| 126 | Tokinolide B | PS011217 | Chengdu Push Bio-Technology Co. Ltd. |
| 128 | Angelicide | B22821 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 130 | Oleanonic acid | PS020531 | Chengdu Push Bio-Technology Co. Ltd. |
| 132 | linoleic acid | B21421 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 138 | Palmitic acid | A0604 | Chengdu Must Biotechnology Co., Ltd. |
| 139 | Oleic acid | B21592 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 140 | Octadecanoic acid | B25060 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 144 | Fenchol | B22257 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 145 | Camphor | B25328 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 146 | Isoborneol | Z111512 | National Institutes for Food and Drug Control |
| 147 | Phenol, 4-ethyl- | PS011318 | Chengdu Push Bio-Technology Co. Ltd. |
| 148 | Borneol | Z110881 | National Institutes for Food and Drug Control |
| 150 | 3-Phenylpropanol | B29870 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 151 | Cinnamyl alcohol | PS0254 | Chengdu Push Bio-Technology Co. Ltd. |
| 152 | 2-Methoxy-4-vinylphenol | B24361 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 153 | Hydrocinnamic acid | B24333 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 155 | Caryophyllene | B24256 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 156 | (Z)-Ethyl Cinnamate | B24211 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 157 | 2,4-Di-tert-butylphenol | B25388 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 160 | Z-Butylidenephthalide | B25378 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 162 | Neocnidilide | B25390 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 163 | Muscone | A0128 | Chengdu Must Biotechnology Co., Ltd. |
| 169 | Benzyl cinnamate | B25438 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 171 | Borny cinnamate | B27809 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| 175 | Prasterone | 2113 | Shanghai Shidande Biotechnology Co., Ltd |
| 176 | Androsterone | D1302001 | Shanghai Yuanye Bio-Technology Co. Ltd. |
| IS1 | Nitidine chloride | B20783 | Chengdu Push Bio-Technology Co. Ltd. |
| IS2 | Saikosaponin C | PS0432 | Chengdu Push Bio-Technology Co. Ltd. |
| IS3 | Naphthalene | ZDR-C20905000 | Shanghai Zhenzhun Biotechnology Co., Ltd. |

Table S3 Multi-reaction monitoring conditions of target analytes in Group A by HPLC-QQQ MS

| No. | tR (min) | ESI ion polarity | Precursor Ion (m/z) | Product Ion (m/z) | Q1 Pre Bias (V) | CE (eV) | Q3 Pre Bias (V) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 6 | 1.66 | + | 137.10 | 55.00 | -30 | -23 | -23 |
| 21 | 2.35 | + | 328.00 | 178.05 | -30 | -30 | -30 |
| 23 | 2.83 | + | 342.15 | 278.95 | -30 | -25 | -30 |
| 28 | 2.90 | + | 342.00 | 192.00 | -30 | -35 | -30 |
| 29 | 3.76 | + | 342.00 | 163.00 | -30 | -50 | -30 |
| 33 | 4.28 | + | 342.05 | 178.05 | -30 | -35 | -30 |
| 36 | 5.11 | + | 354.00 | 189.00 | -30 | -35 | -30 |
| 37 | 4.17 | + | 324.00 | 307.95 | -30 | -35 | -30 |
| 43 | 6.35 | + | 342.10 | 325.05 | -19 | -12 | -22 |
| 44 | 6.62 | + | 369.95 | 188.00 | -30 | -30 | -30 |
| 46 | 6.64 | + | 356.00 | 294.00 | -30 | -25 | -30 |
| 48 | 7.11 | + | 356.00 | 192.00 | -30 | -35 | -30 |
| 52 | 8.01 | + | 319.95 | 292.00 | -30 | -28 | -20 |
| 53 | 7.26 | + | 338.00 | 322.00 | -30 | -35 | -30 |
| 55 | 8.39 | + | 338.00 | 294.00 | -30 | -31 | -30 |
| 58 | 9.48 | + | 340.00 | 176.00 | -30 | -35 | -30 |
| 60 | 10.34 | + | 370.05 | 192.05 | -30 | -35 | -30 |
| 70 | 14.14 | + | 335.95 | 292.00 | -30 | -35 | -30 |
| 71 | 14.20 | + | 352.05 | 336.00 | -30 | -35 | -30 |
| 75 | 14.93 | + | 366.00 | 350.05 | -30 | -35 | -30 |
| 76 | 15.08 | + | 350.00 | 334.00 | -30 | -35 | -30 |
| 107 | 16.38 | + | 335.95 | 307.95 | -30 | -30 | -30 |
| 120 | 17.49 | + | 335.95 | 303.95 | -30 | -23 | -14 |
| 123 | 17.39 | + | 350.05 | 334.00 | -30 | -28 | -23 |
| IS1 | 14.90 | + | 348.00 | 331.95 | -30 | -28 | -24 |

Table S4 Multi-reaction monitoring conditions of target analytes in Group B by HPLC-QQQ MS

| NO. | tR (min) | ESI ion polarity | Precursor Ion (m/z) | Product Ion (m/z) | Q1 Pre Bias (V) | CE (eV) | Q3 Pre Bias (V) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 5 | 1.36 | - | 164.20 | 147.05 | 17 | 15 | 15 |
| 66 | 5.76 | - | 977.30 | 637.25 | 36 | 44 | 22 |
| 67 | 8.27 | - | 147.05 | 103.05 | 30 | 13 | 20 |
| 73 | 5.99 | - | 845.30 | 799.25 | 30 | 26 | 40 |
| 74 | 5.94 | - | 991.55 | 799.20 | 36 | 36 | 28 |
| 80 | 9.15 | - | 799.35 | 475.25 | 28 | 41 | 22 |
| 83 | 10.97 | - | 829.35 | 783.30 | 30 | 23 | 38 |
| 84 | 10.76 | - | 1209.45 | 191.10 | 34 | 55 | 19 |
| 85 | 11.01 | - | 1239.65 | 1107.40 | 34 | 51 | 40 |
| 86 | 11.10 | - | 1107.35 | 179.25 | 40 | 53 | 18 |
| 88 | 12.13 | - | 1077.40 | 783.45 | 38 | 50 | 38 |
| 89 | 12.20 | - | 1209.45 | 1077.05 | 34 | 50 | 38 |
| 93 | 13.22 | - | 1077.40 | 944.95 | 30 | 46 | 34 |
| 94 | 13.38 | - | 1077.35 | 149.25 | 30 | 52 | 29 |
| 101 | 15.62 | - | 991.30 | 783.15 | 36 | 44 | 38 |
| 116 | 16.76 | - | 829.50 | 783.30 | 30 | 21 | 38 |
| IS2 | 11.68 | - | 971.50 | 925.50 | 34 | 28 | 34 |

Table S5 Multi-reaction monitoring conditions of target analytes of Group C by GC-QQQ MS

| No. | Rt (min) | Analytes | Precursor Ion | Product Ion | CE (V) |
| --- | --- | --- | --- | --- | --- |
| 144 | 6.80 | Fenchol | 80.6 | 79.07 | 10 |
| 145 | 7.78 | Camphor | 107.6 | 93.3 | 8 |
| 147 | 8.24 | 4-Ethylphenol | 107.0 | 77.06 | 18 |
| 150 | 10.60 | 3-Phenylpropanol | 117.5 | 91.15 | 24 |
| 151 | 12.24 | Cinnamyl alcohol | 133.6 | 91.1 | 24 |
| 155 | 14.25 | Caryophyllene | 92.6 | 77.07 | 10 |
| 110 | 18.25 | Butylphthalide | 132.5 | 51.07 | 36 |
| 160 | 18.62 | Z-Buthlidenephthalide | 159.0 | 77.03 | 34 |
| 108 | 19.55 | Senkyunolide A | 106.6 | 77.1 | 16 |
| 162 | 19.67 | Neocnidilide | 108.0 | 79.07 | 14 |
| 111 | 19.84 | (E)-Ligustilide | 147.5 | 77.04 | 34 |
| 163 | 21.61 | Muscone | 84.6 | 43.22 | 16 |
| 169 | 24.07 | Benzyl cinnamate | 192.4 | 191.03 | 20 |
| IS3 | 9.16 | Naphthalene | 127.5 | 77.07 | 22 |

Table S6 Multi-reaction monitoring conditions of target analytes of Group D by GC-QQQ MS

| No. | Rt (min) | Analytes | Precursor Ion | Product Ion | CE (V) |
| --- | --- | --- | --- | --- | --- |
| 146 | 4.63 | Isoborneol | 94.6 | 67.05 | 8 |
| 148 | 4.72 | Borneol | 94.6 | 55.06 | 16 |
| 173 | 9.70 | 3-Phenylpropyl cinnamate | 117.5 | 91.06 | 26 |
| 174 | 10.11 | Cinnamyl cinnamate | 130.5 | 77.03 | 26 |
| IS3 | 4.96 | Naphthalene | 127.5 | 77.07 | 22 |

Table S7 Calibration curves, LODs and LOQs of 40 analytes in SXXTN by LC-QQQ MS

| No. | Calibration curves | R2 | Linearuty range (μg/ml) | LODs (ng/ml) | LOQs (ng/ml) |
| --- | --- | --- | --- | --- | --- |
| 5 | Y=0.4237X+0.1499 | 0.9900 | 0.0202-10.100 | 0.112 | 0.224 |
| 6 | Y=0.3444X-0.0000 | 0.9916 | 0.0037-0.4575 | 0.092 | 0.458 |
| 21 | Y=3.8646X+0.0346 | 0.9925 | 0.0276-5.5200 | 0.005 | 0.007 |
| 23 | Y=2.5382X+0.0015 | 0.9973 | 0.0131-2.6200 | 0.001 | 0.002 |
| 28 | Y=3.1684X+0.0050 | 0.9996 | 0.0109-2.1840 | 0.007 | 0.027 |
| 29 | Y=1.7437X+0.0032 | 0.9992 | 0.0310-6.2100 | 0.016 | 0.031 |
| 33 | Y=1.7164X+0.0006 | 0.9989 | 0.0277-5.5440 | 0.007 | 0.014 |
| 36 | Y=0.7667X+0.0538 | 0.9969 | 0.1185-23.700 | 0.037 | 0.099 |
| 37 | Y=1.4258X-0.0008 | 0.9958 | 0.0041-0.2575 | 0.001 | 0.003 |
| 43 | Y=0.1483X-0.0002 | 0.9975 | 0.1200-7.5000 | 6.000 | 40.00 |
| 44 | Y=1.5695X+0.0090 | 0.9998 | 0.0832-16.640 | 0.007 | 0.042 |
| 46 | Y=3.8004X+0.0212 | 0.9970 | 0.0129-2.5800 | 0.008 | 0.011 |
| 48 | Y=6.2111X-0.0047 | 0.9945 | 0.0058-1.1640 | 0.001 | 0.002 |
| 52 | Y=1.2003X+0.0138 | 0.9990 | 0.0918-18.368 | 0.015 | 0.077 |
| 53 | Y=1.3303X+0.0107 | 0.9997 | 0.0845-16.896 | 0.026 | 0.042 |
| 55 | Y=2.9055X-0.0022 | 0.9928 | 0.0059-0.0371 | 0.004 | 0.588 |
| 58 | Y=6.8046X-0.0080 | 0.9935 | 0.0092-0.5780 | 0.002 | 0.009 |
| 60 | Y=3.4744X-0.0098 | 0.9915 | 0.0180-2.2500 | 0.005 | 0.011 |
| 66 | Y=1.6136X+0.1300 | 0.9975 | 0.0202-10.100 | 2.020 | 5.050 |
| 67 | Y=0.1020X+0.0066 | 0.9977 | 0.0106-5.3250 | 0.710 | 1.065 |
| 70 | Y=1.9193X+0.0003 | 0.9993 | 0.0294-5.8800 | 0.002 | 0.005 |
| 71 | Y=1.7779X+0.0066 | 0.9993 | 0.0449-8.9760 | 0.002 | 0.005 |
| 73 | Y=0.7581X+0.0939 | 0.9913 | 0.0243-6.0750 | 0.304 | 0.405 |
| 74 | Y=0.0113X+0.0019 | 0.9904 | 0.0325-8.1375 | 8.138 | 16.275 |
| 75 | Y=2.6862X-0.0056 | 0.9960 | 0.0177-2.2162 | 0.003 | 0.009 |
| 76 | Y=3.1255X+0.0101 | 0.9919 | 0.0077-0.4812 | 0.001 | 0.002 |
| 80 | Y=0.4813X+0.1733 | 0.9907 | 0.0260-13.000 | 0.578 | 0.650 |
| 83 | Y=2.7252X+0.2390 | 0.9933 | 0.0093-4.6500 | 0.155 | 0.207 |
| 84 | Y=0.1542X-0.0113 | 0.9980 | 0.0406-10.150 | 3.383 | 25.375 |
| 85 | Y=0.0510X+0.0076 | 0.9911 | 0.0436-8.7200 | 13.625 | 27.250 |
| 86 | Y=0.0985X+0.0192 | 0.9936 | 0.0308-12.320 | 15.400 | 30.800 |
| 88 | Y=0.0733X+0.0082 | 0.9940 | 0.0190-4.7375 | 7.106 | 14.213 |
| 89 | Y=0.0892X+0.0113 | 0.9923 | 0.0212-10.600 | 7.950 | 15.900 |
| 93 | Y=0.2675X-0.0132 | 0.9982 | 0.0235-2.9375 | 8.813 | 17.625 |
| 94 | Y=0.2391X+0.0084 | 0.9978 | 0.0092-4.5900 | 6.885 | 13.770 |
| 101 | Y=0.0962X+0.0150 | 0.9910 | 0.0220-4.4000 | 8.250 | 16.500 |
| 107 | Y=1.9118X+0.0050 | 0.9994 | 0.0124-2.4720 | 0.002 | 0.003 |
| 116 | Y=1.8332X-0.0625 | 0.9937 | 0.0045-1.1200 | 0.280 | 0.560 |
| 120 | Y=20.466X-0.0156 | 0.9960 | 0.0068-0.4256 | 0.002 | 0.017 |
| 123 | Y=5.3325X-0.0037 | 0.9955 | 0.0146-1.8300 | 0.002 | 0.004 |

Table S8 Precision, repeatability, stability and accuracy of analytes in SXXTN by LC-QQQ MS

| No. | Intra-day precision (RSD, n = 6, %) | Inter-day precision (RSD, n = 9, %) | Repeatability (RSD, n = 6, %) | Stability (RSD, n = 6, %) | Accuracy (n = 6, %) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Recovery | RSD |
| 5 | 2.83 | 9.43 | 4.79 | 5.73 | 96.09 | 12.61 |
| 6 | 2.23 | 3.28 | 3.28 | 1.23 | 94.88 | 6.48 |
| 21 | 2.04 | 3.31 | 1.80 | 0.83 | 102.18 | 10.98 |
| 23 | 2.49 | 3.26 | 2.64 | 1.36 | 98.54 | 9.16 |
| 28 | 1.43 | 4.52 | 2.51 | 1.77 | 101.27 | 8.54 |
| 29 | 4.84 | 5.16 | 2.19 | 1.59 | 108.63 | 8.34 |
| 33 | 1.19 | 4.81 | 2.33 | 2.68 | 106.37 | 2.38 |
| 36 | 1.77 | 2.74 | 2.68 | 1.76 | 99.62 | 8.41 |
| 37 | 1.16 | 2.96 | 2.11 | 1.62 | 110.06 | 6.93 |
| 43 | 2.94 | 4.93 | 2.34 | 3.61 | 99.03 | 9.02 |
| 44 | 1.39 | 3.88 | 2.87 | 1.25 | 103.04 | 6.95 |
| 46 | 2.88 | 3.41 | 2.45 | 2.22 | 89.13 | 9.16 |
| 48 | 2.66 | 3.74 | 2.54 | 1.47 | 110.77 | 6.13 |
| 52 | 2.00 | 2.06 | 0.67 | 1.53 | 104.37 | 6.66 |
| 53 | 2.16 | 2.43 | 0.64 | 1.38 | 107.94 | 6.54 |
| 55 | 2.08 | 4.83 | 2.80 | 2.60 | 104.40 | 6.07 |
| 58 | 1.71 | 3.29 | 2.46 | 1.75 | 110.05 | 6.87 |
| 60 | 1.72 | 4.50 | 2.61 | 1.44 | 114.20 | 7.38 |
| 66 | 1.54 | 7.36 | 1.55 | 3.52 | 116.83 | 11.62 |
| 67 | 2.40 | 5.27 | 1.70 | 2.96 | 103.61 | 7.84 |
| 70 | 1.66 | 2.06 | 2.22 | 1.02 | 102.28 | 4.02 |
| 71 | 1.48 | 1.18 | 1.50 | 1.16 | 105.65 | 5.45 |
| 73 | 2.02 | 3.32 | 1.92 | 2.27 | 110.19 | 4.80 |
| 74 | 4.79 | 4.53 | 1.38 | 2.60 | 100.04 | 7.49 |
| 75 | 1.07 | 3.13 | 2.23 | 0.6 | 117.57 | 5.36 |
| 76 | 1.42 | 2.14 | 2.15 | 0.95 | 100.48 | 5.52 |
| 80 | 1.32 | 5.60 | 1.30 | 4.62 | 108.63 | 10.04 |
| 83 | 1.24 | 4.44 | 1.33 | 4.14 | 104.03 | 4.05 |
| 84 | 2.30 | 5.82 | 1.84 | 6.14 | 80.96 | 4.46 |
| 85 | 1.19 | 2.73 | 5.91 | 4.29 | 101.17 | 10.68 |
| 86 | 2.43 | 5.84 | 3.13 | 5.95 | 116.49 | 5.46 |
| 88 | 2.38 | 5.45 | 2.06 | 5.04 | 117.13 | 6.31 |
| 89 | 1.93 | 3.57 | 1.31 | 2.51 | 115.78 | 8.34 |
| 93 | 4.87 | 7.46 | 2.64 | 5.38 | 90.52 | 9.34 |
| 94 | 5.41 | 7.84 | 2.58 | 5.29 | 90.64 | 8.10 |
| 101 | 3.55 | 4.42 | 3.33 | 4.78 | 104.48 | 3.50 |
| 107 | 1.41 | 1.30 | 2.12 | 1.62 | 102.66 | 9.37 |
| 116 | 3.56 | 3.44 | 2.62 | 5.26 | 80.36 | 6.45 |
| 120 | 1.29 | 5.75 | 1.27 | 1.74 | 99.36 | 8.50 |
| 123 | 1.70 | 3.61 | 3.43 | 0.73 | 102.26 | 7.00 |

Table S9 Calibration curves, LODs and LOQs of 17 analytes in SXXTN by GC-QQQ MS

| No. | Calibration curves | R2 | Linearity range (μg/ml） | LODs (μg/ml) | LOQs (μg/ml) |
| --- | --- | --- | --- | --- | --- |
| 144 | Y=1.0381x+0.0045 | 0.9986 | 0.1500-7.5000 | 0.005 | 0.015 |  |
| 145 | Y=0.4938x+0.0017 | 0.9955 | 0.1030-5.1500 | 0.005 | 0.013 |  |
| 146 | Y=0.5635x+0.0139 | 0.9976 | 0.8138-81.375 | 0.018 | 0.054 |  |
| 147 | Y=2.3087x-0.1334 | 0.9965 | 1.2175-12.175 | 0.097 | 0.122 |  |
| 148 | Y=0.8043x+0.0100 | 0.9985 | 1.0000-100.00 | 0.008 | 0.020 |  |
| 150 | Y=1.2172x-0.1702 | 0.9976 | 2.9040-29.040 | 0.581 | 1.162 |  |
| 151 | Y=0.3903x-0.2382 | 0.9935 | 9.9060-99.060 | 2.642 | 5.283 |  |
| 155 | Y=0.5161x-0.0041 | 0.9990 | 0.1515-7.5750 | 0.008 | 0.019 |  |
| 110 | Y=3.7624x-0.2920 | 0.9970 | 1.9300-24.125 | 0.241 | 0.965 |  |
| 160 | Y=0.3858x-0.0443 | 0.9954 | 1.4000-35.000 | 0.350 | 1.400 |  |
| 108 | Y=2.2567x-0.5197 | 0.9904 | 2.0700-51.800 | 1.035 | 2.070 |  |
| 162 | Y=5.5589x-0.3427 | 0.9976 | 1.1700-14.625 | 0.146 | 1.170 |  |
| 111 | Y=0.4468x-0.1676 | 0.9990 | 8.3160-83.160 | 2.218 | 6.653 |  |
| 163 | Y=0.2721x-0.0230 | 0.9990 | 1.0725-53.600 | 0.250 | 0.500 |  |
| 169 | Y=1.6498x-0.6952 | 0.9927 | 7.4280-74.280 | 0.743 | 1.733 |  |
| 173 | Y=2.6254x-0.5582 | 0.9921 | 0.7725-77.250 | 0.640 | 0.774 |  |
| 174 | Y=2.1513x-1.0933 | 0.9907 | 8.0800-101.00 | 2.020 | 4.040 |  |

Table S10 Precision, repeatability, stability and accuracy of analytes in SXXTN by GC-QQQ MS

| No. | Intra-day precision (RSD, n = 6, %) | Inter-day precision (RSD, n = 9, %) | Repeatability (RSD, n = 6, %) | Stability (RSD, n = 6, %) | Accuracy (n = 6, %) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Recovery | RSD |
| 144 | 0.69 | 1.91 | 4.40 | 1.24 | 99.02 | 2.76 |
| 145 | 0.65 | 2.65 | 4.96 | 1.34 | 98.37 | 2.24 |
| 146 | 0.70 | 0.80 | 2.58 | 1.44 | 103.44 | 4.71 |
| 147 | 5.47 | 5.19 | 7.52 | 3.15 | 90.20 | 9.59 |
| 148 | 0.68 | 0.83 | 1.63 | 1.54 | 100.98 | 5.31 |
| 150 | 4.70 | 4.66 | 9.66 | 5.63 | 94.24 | 10.67 |
| 151 | 5.44 | 6.5 | 8.37 | 7.97 | 99.47 | 8.64 |
| 155 | 0.44 | 1.88 | 4.64 | 1.14 | 104.98 | 1.70 |
| 110 | 0.54 | 1.78 | 6.05 | 2.51 | 104.87 | 1.96 |
| 160 | 1.56 | 2.86 | 7.34 | 3.50 | 114.51 | 2.60 |
| 108 | 3.11 | 2.14 | 9.47 | 6.00 | 106.78 | 4.88 |
| 162 | 0.67 | 1.69 | 6.61 | 3.94 | 102.21 | 5.01 |
| 111 | 0.77 | 1.57 | 5.96 | 2.59 | 104.65 | 2.33 |
| 163 | 0.95 | 1.90 | 5.23 | 1.61 | 105.21 | 2.32 |
| 169 | 0.99 | 8.06 | 5.79 | 3.28 | 104.11 | 1.48 |
| 173 | 5.53 | 3.05 | 5.27 | 7.97 | 123.51 | 7.15 |
| 174 | 9.06 | 5.04 | 8.12 | 6.99 | 116.50 | 11.95 |

Fig S1 The characteristic MS/MS spectra of representative compounds in SXXTN.

A: Tetrahydropalmatine, B: Berberine, C: Protopine, D: Glaucine, E: Ginsenoside Rd,

F: Ginsenoside Rg1, G: Ginsenoside Ro, H: Ginsenoside Rb2, I: Ferulic acid, J: Cinnamic acid,

K: Senkyunolide A, L: Angelicide

Fig S2 The fragmentation pathways of representative compounds in SXXTN.

A: Tetrahydropalmatine, B: Berberine, C: Protopine, D: Glaucine, E: Ginsenoside Rd,

F: Ginsenoside Rg1, G: Ginsenoside Ro, H: Ferulic acid, I: Senkyunolide A

Fig S3 The multi-reaction monitoring chromatograms of SXXTN in Group A (A) and Group B (B) by HPLC-QQQ MS

Fig S4 The multi-reaction monitoring chromatograms of SXXTN in Group C (A) and Group D (B) by GC-QQQ MS