**Primary aromatic amines (PAAs) in** **third-hand smoke collected from waterpipe/cigarette cafés: level and exposure assessment**

Farshid Soleimani1, ***†***, Mohammad Reza Masjedi2, ***†***,Mahbubeh Tangestani3, Hossein Arfaeinia4,5,*\**, Sina Dobaradaran4,5,6,7,\*, Akram Farhadi8, Sima Afrashteh8, Reza Mallaki9, Dariush Ranjbar Vakilabadi4,5

1Tobacco and Health Research Center, Hormozgan University of Medical Sciences, Bandar Abbas, Iran

2Tobacco Control Research Center (TCRC), Iranian Anti-Tobacco Association, Tehran, Iran

3Department of Environmental Health Engineering, Faculty of Health, Iran University of Medical Sciences, Tehran, Iran

4Systems Environmental Health and Energy Research Center, The Persian Gulf Biomedical Sciences Research Institute, Bushehr University of Medical Sciences, Bushehr, Iran

5Department of Environmental Health Engineering, Faculty of Health, Bushehr University of Medical Sciences, Bushehr, Iran

6Instrumental Analytical Chemistry and Centre for Water and Environmental Research (ZWU), Faculty of Chemistry, University of Duisburg-Essen, Universit¨atsstr. 5, Essen, Germany

7Centre for Water and Environmental Research, University of Duisburg-Essen, Universitätsstr. 5, Essen, 45141, Germany

8The Persian Gulf Tropical Medicine Research Center, The Persian Gulf Biomedical Sciences Research Institute, Bushehr University of Medical Sciences, Bushehr, Iran

11Student research and technology committee of Bushehr University of Medical Sciences, Bushehr, Iran

***†*** *FS and MRM should be considered as joint first authors*

***\**** *HA and SD should be considered as joint corresponding authors*

\*Corresponding author: **Hossein Arfaeinia**: Department of Environmental Health Engineering, Faculty of Health and Nutrition, Bushehr University of Medical Sciences, Bushehr, Iran

Tel.: +987733450134,E-mail address: [arfaeiniah@yahoo.com](mailto:arfaeiniah@yahoo.com)

\*Corresponding author: **Sina Dobaradaran**: Systems Environmental Health and Energy Research Center, The Persian Gulf Biomedical Sciences Research Institute, Bushehr University of Medical Sciences, Bushehr, Iran

E-mail address: [sina\_dobaradaran@yahoo.com](mailto:sina_dobaradaran@yahoo.com); s.dobaradaran@bpums.ac,ir


**Contents**

**Table S1**. Target analytes with retention times (RT), limit of detection (LOD) and limit of quantification (LOQ).

**FigS1.** A chromatogram of primary aromatic amines (PAAs) in third-hand smoke

**Table S2.** Multiple/Post Hoc group comparisons of primary aromatic amines (PAAs) (ng/L) in settled indoor dusts collected from WPC, CC and SFC.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Table S1**. Target analytes\* with retention times (RT), regression coefficient (r) of the calibration curve, limit of detection (LOD) and limit of quantification (LOQ), accuracy and precision for validation of analysis | | | | | | | | | | | | | |
| **Chemicals** | **RT (min)** | **Correlation coefficient (r)** | **LOD (ng/g)** | **LOQ (ng/g)** | **5ng/0.2g** | | | **10ng/0.2g** | | | **20ng/0.2g** | | |
| **Accuracy (%)** | **Precision (% )** | | **Accuracy (%)** | **Precision (% )** | | **Accuracy (%)** | **Precision (% )** | |
| **Intra-day** | **Inter-day** | **Intra-day** | **Inter-day** | **Intra-day** | **Inter-day** |
| **ANL** | 2.09 | 0.9998 | 0.15 | 0.53 | 94.6 | 3.43 | 3.31 | 92.1 | 4.21 | 6.19 | 94.8 | 7.95 | 4.82 |
| **o-TOL** | 3.12 | 0.9992 | 0.10 | 0.38 | 104 | 3.48 | 3.33 | 105 | 5.93 | 3.67 | 106 | 5.49 | 4.37 |
| **p-TOL** | 3.52 | 0.9991 | 0.10 | 0.35 | 102 | 3.71 | 5.12 | 101 | 6.31 | 6.13 | 104 | 7.94 | 8.03 |
| **m-TOL** | 3.78 | 0.9992 | 0.10 | 0.38 | 104 | 3.48 | 3.33 | 105 | 5.93 | 3.67 | 106 | 5.49 | 4.37 |
| **o-ASD** | 4.02 | 0.9994 | 0.085 | 0.32 | 98.9 | 2.77 | 3.12 | 104 | 7.34 | 4.65 | 101 | 3.81 | 3.35 |
| **2,6-DMA** | 4.47 | 0.9992 | 0.10 | 0.40 | 94.3 | 4.89 | 4.64 | 102 | 3.92 | 2.78 | 96.5 | 4.53 | 4.77 |
| **2-NA** | 5.20 | 0.9996 | 0.03 | 0.14 | 95.4 | 1.67 | 2.43 | 96.2 | 5.21 | 4.19 | 92.9 | 4.54 | 4.66 |
| **p-CD** | 5.19 | 0.9994 | 0.03 | 0.12 | 108 | 4.78 | 3.62 | 103 | 6.16 | 5.88 | 111 | 7.65 | 9.47 |
| **4-CA** | 5.51 | 0.9997 | 0.10 | 0.38 | 104 | 6.85 | 7.54 | 106 | 4.73 | 3.68 | 112 | 7.49 | 10.2 |
| \* ANL: Aniline, o-TOL: ortho-Toluidine, p-TOL: para-Toluidine, m-TOL: meta -Toluidine, o-ASD: ortho-Anisidine, 2,6-DMA: 2,6-dimethylaniline, 2-NA: 2-Naphthylamine, pCD: para-Cresidine, 4-CA: 4-Chloroaniline. | | | | | | | | | | | | | |

****

**FigS1.** A chromatogram of primary aromatic amines (PAAs) in third-hand smoke

**Table S2**. Multiple/Post Hoc group comparisons of primary aromatic amines (PAAs) (ng/g) in settled indoor dusts collected from waterpipe cafés (WPC), cigarette cafés (CC) and smoking-free cafés (SFC).

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Dependent Variable** | | **(I) groups** | **(J) groups** | **Mean Difference (I-J)** | **Std. Error** | **Sig.** | **95% Confidence Interval** | |
| **Lower Bound** | **Upper Bound** |
| ANLa | Tukey HSD | WPC | CC | 135.06\* | 52.44 | .035 | 8.14 | 261.98 |
| SFC | 331.97\* | 49.05 | <0.001 | 213.25 | 450.69 |
| CC | WPC | -135.06\* | 52.44 | .035 | -261.98 | -8.14 |
| SFC | 196.91\* | 52.44 | .001 | 69.99 | 323.83 |
| SFC | WPC | -331.97\* | 49.05 | <0.001 | -450.69 | -213.25 |
| CC | -196.91\* | 52.44 | .001 | -323.83 | -69.99 |
| o-TOL | Tukey HSD | WPC | CC | 4.74 | 2.28 | .106 | -0.79 | 10.27 |
| SFC | 10.85\* | 2.13 | <0.001 | 5.67 | 16.02 |
| CC | WPC | -4.74 | 2.28 | .106 | -10.27 | 0.79 |
| SFC | 6.11 | 2.28 | .027 | 0.57 | 11.64 |
| SFC | WPC | -10.85\* | 2.13 | <0.001 | -16.02 | -5.67 |
| CC | -6.11 | 2.28 | .027 | -11.64 | -0.57 |
| p-TOL | Tukey HSD | WPC | CC | 8.87\* | 2.89 | .010 | 1.85 | 15.88 |
| SFC | 16.53\* | 2.71 | <0.001 | 9.97 | 23.09 |
| CC | WPC | -8.87\* | 2.89 | .010 | -15.88 | -.1.85 |
| SFC | 7.66\* | 2.89 | .029 | .65 | 14.68 |
| SFC | WPC | -16.53\* | 2.71 | <0.001 | -23.09 | -9.97 |
| CC | -7.66\* | 2.89 | .029 | -14.68 | -.65 |
| m-TOL | Tukey HSD | WPC | CC | 8.85\* | 2.24 | .001 | 3.43 | 14.27 |
| SFC | 9.56\* | 2.09 | <0.001 | 4.49 | 14.64 |
| CC | WPC | -8.85\* | 2.24 | .001 | -14.27 | -3.43 |
| SFC | 0.71 | 2.24 | .946 | -4.71 | 6.13 |
| SFC | WPC | -9.56\* | 2.09 | <0.001 | -14.64 | -4.49 |
| CC | -0.71 | 2.24 | .946 | -6.13 | 4.71 |
| o-ASD | Tukey HSD | WPC | CC | 14.95 | 7.92 | .153 | -4.21 | 34.12 |
| SFC | 34.71\* | 7.40 | <0.001 | 16.78 | 52.65 |
| CC | WPC | -14.95 | 7.92 | .153 | -34.12 | 4.21 |
| SFC | 19.76 | 7.92 | .042 | 0.59 | 38.93 |
| SFC | WPC | -34.71\* | 7.40 | <0.001 | -52.65 | -16.78 |
| CC | -19.76 | 7.92 | .042 | -38.93 | -0.59 |
| 2,6-DMA | Tukey HSD | WPC | CC | 169.10\* | 33.68 | <0.001 | 87.59 | 250.61 |
| SFC | 193.40\* | 31.50 | <0.001 | 117.15 | 269.64 |
| CC | WPC | -169.10\* | 33.68 | <0.001 | -250.61 | -87.59 |
| SFC | 24.29 | 33.60 | .752 | -57.21 | 105.80 |
| SFC | WPC | -193.40\* | 31.50 | <0.001 | -269.64 | -117.15 |
| CC | -24.29 | 33.68 | .752 | -105.80 | 57.21 |
| 2-NA | Tukey HSD | WPC | CC | 26.02\* | 6.60 | .001 | 10.03 | 42.02 |
| SFC | 28.99\* | 6.18 | <0.001 | 14.04 | 43.95 |
| CC | WPC | -26.02\* | 6.60 | .001 | -42.02 | -10.03 |
| SFC | 2.96 | 6.60 | .895 | -13.02 | 18.96 |
| SFC | WPC | -28.99\* | 6.18 | <0.001 | -43.95 | -14.04 |
| CC | -2.96 | 6.60 | .895 | -18.96 | 13.02 |
| pCD | Tukey HSD | WPC | CC | 24.18\* | 5.07 | <0.001 | 11.89 | 36.48 |
| SFC | 30.10\* | 4.75 | <0.001 | 18.60 | 41.59 |
| CC | WPC | -24.18\* | 5.07 | <0.001 | -36.48 | -11.89 |
| SFC | 5.91 | 5.07 | .481 | -6.38 | 18.20 |
| SFC | WPC | -30.10\* | 4.75 | <0.001 | -41.59 | -18.60 |
| CC | -5.91 | 5.07 | .481 | -18.20 | 6.38 |
| 4-CA | Tukey HSD | WPC | CC | 5.58813\* | 1.89015 | .015 | .9734 | 10.2029 |
| SFC | 6.33729\* | 1.89015 | .005 | 1.7225 | 10.9521 |
| CC | WPC | -5.58812\* | 1.89015 | .015 | -10.2029 | -.9734 |
| SFC | .74917 | 2.02065 | .927 | -4.1842 | 5.6826 |
| SFC | WPC | -6.33729\* | 1.89015 | .005 | -10.9521 | -1.7225 |
| CC | -.74917 | 2.02065 | .927 | -5.6826 | 4.1842 |
| ∑PAAs | Tukey HSD | WPC | CC | 396.82\* | 84.89 | <0.001 | 191.37 | 602.28 |
| SFC | 661.98\* | 79.41 | <0.001 | 469.79 | 854.17 |
| CC | WPC | -396.82\* | 84.89 | <0.001 | -602.28 | -191.37 |
| SFC | 265.15\* | 84.89 | .008 | 59.70 | 470.61 |
| SFC | WPC | -661.98\* | 79.41 | <0.001 | -854.17 | -469.79 |
| CC | -265.15\* | 84.89 | .008 | -470.61 | -59.70 |
| \*. The mean difference is significant at the 0.05 level. | | | | | | | | |

d ANL: Aniline, o-TOL: ortho-Toluidine, p-TOL: para-Toluidine, m-TOL: meta -Toluidine, o-ASD: ortho-Anisidine, 2,6-DMA: 2,6-dimethylaniline, 2-NA: 2-Naphthylamine, pCD: para-Cresidine, 4-CA: 4-Chloroaniline.